| Date: |  |  |  |  |  |  |  | Job Reference |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  | State |  |  |  |  |  | Zip |  |
| Customer Contact |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Phone No. |  |  |  |  |  |  |  |  |  |  | Fax No. |  |  |  |  |  |
| E-Mail Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Submitted By (if different than above) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date Quote Required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

# CIRCULATION HEATERS

| ## APPLICATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Material to be heated |  |  |  |  |  |  |  |  |  |  | Flow rate |  |  |  |  |  | Heat Sensitive: YES / NO |  |  |  |  |  |
| Inlet Temp. | F |  |  |  | Outlet Temp. |  |  |  |  | F |  | Indoor Outdoor Min./Max. Ambient Temps / F |  |  |  |  |  |  |  |  |  |  |
| Operating/Design Pressure |  |  |  | / |  |  |  | PSIG; Design Temperature |  |  |  |  |  | F; |  | ASME Code Stamp: YES / NO |  |  |  |  |  |  |
| Specified Inlet/Outlet Size: |  | Dia., |  |  |  | Sch. . |  |  |  | Type: Flanged , NPT , Other (if applicable) Explain other: . |  |  |  |  |  |  |  | If Flanged, Flange Rating |  |  | lb. |  |
| Fluid Properties: Density or Specific Gravity |  |  |  |  |  |  |  |  |  |  | at |  | F |  | Specific Heat |  |  |  | at |  |  | F |
| Thermal Conductivity |  |  |  |  |  |  |  |  |  |  | at |  | F |  | Viscosity |  |  |  | at |  |  | F |
| Maximum Fluid Film Temperature |  |  |  |  |  |  | F |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Describe how the heater is to be used: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Describe the process loop: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| ## HEATER DESIGN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Required KW rating or heat duty (if known) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Available power: |  |  |  |  | volts |  |  |  | phase |  |  |  |  |  | cycle |  |  |
| Maximum watt density on heater element: |  |  |  |  |  |  |  |  |  |  | W/in2 |  |  |  |  |  |  |
| Circulation Heater Vessel Material: |  |  |  | Carbon steel , 304SS , 316SS , Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Heating Element Material: |  |  | Copper , Steel , 304SS , 316SS , Incoloy , Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Heater Environment (NEMA Type): 1 , 4 , 4X , 7 |  |  |  |  |  |  |  |  |  | Non-hazardous Area or Hazardous Area |  |  |  |  |  |  |  |
| If Hazardous Area: Class , Division , Groups , Ignition Temperature Code |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Special Items: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| ## CONTROLS |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type: ON/OFF / Multi Stage , Number of Stages: / Solid-state SCR (modulated) |  |  |  |  |  |  |  |  |  |
| Control Mounting Options: On heater (prewired) |  |  |  |  | Remote control panel |  | Mounted & prewired on skid with heater |  |  |
| Control Panel Environment (NEMA Type): 12 , 4 , 4X , With Purge? YES or NO , 7 (cast aluminum) |  |  |  |  |  |  |  |  |  |
| Non-hazardous Area or Hazardous Area ; If Hazardous Area: Class , Division , Groups |  |  |  |  |  |  |  |  |  |
| Special Control Items: |  | . |  |  |  |  |  |  |  |
|  | Process Thermostat |  |  | Process Thermocouple |  |  |  | Sheath Thermocouple |  |