Figure 1 - Standard Flanged Heater Installation

Figure 2 - Optional Slip-in Heater Installation

(Not recommended for most applications)

Figure 3 – 227 Series Explosion-proof Duct Heater

Figure 4 – 220 Series Explosion-proof Duct Heater

Figure 5 - Custom Explosion-proof Duct Heater

No Agency Approvals

| HOW TO ORDER 1. Construction Type (check one): |
| --- |
| Standard Flanged | Optional Slip-in |
| 2. Electrical Ratings: |  |
| Line Voltage | Phase |
| KW | Control Voltage |
| 3. Inside Duct Dimensions (Inches): |
| Width | Height |
| 4. Airflow Direction (check one): |
| Right | Up |
| Left | Down |
| 5. Minimum Airflow Through Heater: |
| Ft/Sec | CFM |
| 6. Maximum Inlet Air Temperature (80( F Standard): |
| (F |  |
| 7. Classification of Hazardous Area: |
| Class |
| Group |
| Ignition Temperature (F |
| NEC I.D. Code No. |
| 8. Temperature Control (check one): |
| SCR Control | ON/OFF Control |
| Specify Input Signal |  |
| Standard 2200 ohm | Number of Steps |
| (from Heatrex thermostat) | (Step Controller required |
| Optional | For more then 2 steps) |
| (from customer’s thermostat) | 227 Series only offered with |
| 135 ohm | single stage. |
| 4-20 milliamp |  |
| 0-10 VDC |  |
| 9. Optional Built-In Controls: |  |
| Explosion-proof Airflow Switch (No built-in fan relay) |
| Built-in | Remote |
| Pilot Lights |  |
| “Low Airflow” and “Heater On” pilot lights) |
| Other (specify function): |
| Disconnect Switch (unfused) |
| Step Controller (On/Off control with more than 2 stages) |
| Fan Delay Relay (to keep fan on briefly after heater shuts off) |
| 10. Optional Features: |
| Weatherproof NEMA 4,7,9 Terminal Box |
| Wet or corrosive application |
| Stainless Steel Frame |
| All Controls, except overtemperature cutouts, mounted in remote |
| Control panel of the following type: |
| Nonhazardous - NEMA 1 |
| Nonhazardous - NEMA 4, weatherproof |
| Nonhazardous - NEMA 12, dust tight |
| 11. Remote Thermostat (select type): Room Sensing Duct Sensing |

# Text boxes

EXPLOSION-PROOF DUCT HEATERS

HX-22-1100-80-2